Parafos® GAMMA TEST INSTRUCTIONS

(CUBE METHOD, 0-10 Parafos® Gamma Level)

- Rinse the empty test cube with the water to be tested.  Fill to the mark with the water sample.

- Open one PhosVer 3 Parafos® powder pillow and add the contents to the cube.  Cap the cube and invert several times to mix.

- Wait one minute for colour development (wait no longer than 2 minutes).

- Match the colour of the sample to the closest colour on the side of the cube.

- Multiply the reading by 2 to obtain the level of Parafos® Gamma.

- Enter the results in your operator testing log and/or your eService operator log at www.keytechservice.com.

EQUIPMENT & REAGENTS

TEST KIT NO. OTK065

1 Parafos® Test Cube, #12505

5 mL sample PhosVer 3 Parafos® powder pillows (40)